{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Phase_I","Phase_II","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Phase_I","index":0,"n_rows":256,"n_cols":10,"rows_kept":256,"cut":false,"hidden":false,"merged":[]}
[]
[null,"设备 ","before map","After map Michelin","类型","备注 ","阶段"]
[null,null,"192.168.1.1"]
[null,null,"192.168.1.2"]
[null,null,"192.168.1.3"]
[null,null,"192.168.1.4"]
[null,null,"192.168.1.5"]
[null,null,"192.168.1.6"]
[null,null,"192.168.1.7"]
[null,null,"192.168.1.8"]
[null,null,"192.168.1.9",{"$nulls":5},"192.168.1.30","10.68.195.141"]
[null,null,"192.168.1.10",null,null,null,"一期","remove mapping","192.168.1.10","10.68.195.142"]
[null,"ASRS_PC1","192.168.1.11","10.68.195.148","PC",null,"一期",null,"192.168.1.20","10.68.195.143"]
[null,"ASRS_PC2","192.168.1.12","10.68.195.149","PC",null,"一期"]
[null,"ASRS_PC3","192.168.1.13","10.68.195.150","PC",null,"一期"]
[null,"ASRS_PC4","192.168.1.14","10.68.195.151","PC",null,"一期"]
[null,"EMS","192.168.1.15","10.68.195.152","HMI",null,"一期"]
[null,null,"192.168.1.16"]
[null,null,"192.168.1.17"]
[null,null,"192.168.1.18"]
[null,null,"192.168.1.19",null,null,null,"一期"]
[null,null,"192.168.1.20",null,null,null,"一期"]
[null,null,"192.168.1.21"]
[null,null,"192.168.1.22"]
[null,null,"192.168.1.23",null,null,null,"一期"]
[null,null,"192.168.1.24"]
[null,null,"192.168.1.25"]
[null,null,"192.168.1.26"]
[null,null,"192.168.1.27"]
[null,null,"192.168.1.28"]
[null,null,"192.168.1.29"]
[null,null,"192.168.1.30",null,null,null,"一期"]
[null,null,"192.168.1.31"]
[null,null,"192.168.1.32"]
[null,null,"192.168.1.33"]
[null,null,"192.168.1.34"]
[null,null,"192.168.1.35"]
[null,null,"192.168.1.36"]
[null,null,"192.168.1.37"]
[null,null,"192.168.1.38"]
[null,null,"192.168.1.39"]
[null,"Nat Getway","192.168.1.40","10.68.195.140","Routor","路由器网关","一期"]
[null,null,"192.168.1.41"]
[null,null,"192.168.1.42"]
[null,null,"192.168.1.43"]
[null,null,"192.168.1.44"]
[null,null,"192.168.1.45"]
[null,null,"192.168.1.46"]
[null,null,"192.168.1.47"]
[null,null,"192.168.1.48"]
[null,null,"192.168.1.49"]
[null,"BD06","192.168.1.50","10.68.195.171","1756_EN2T Module",null,"一期"]
[null,"BD06","192.168.1.51",null,"1734-Module",null,"一期"]
[null,"BD06","192.168.1.52",null,"1734-Module",null,"一期"]
[null,"BD06","192.168.1.53",null,"LD504","读码器","一期"]
[null,"BD06","192.168.1.54",null,"LD0103","读码器","一期"]
[null,"BD06","192.168.1.55",null,"HMI",null,"一期"]
[null,null,"192.168.1.56"]
[null,null,"192.168.1.57"]
[null,null,"192.168.1.58"]
[null,"BD07","192.168.1.59",null,"HMI",null,"一期"]
[null,"BD07","192.168.1.60","10.68.195.172","1756_EN2T Module",null,"一期"]
[null,"BD07","192.168.1.61",null,"1734-Module",null,"一期"]
[null,"BD07","192.168.1.62",null,"1734-Module",null,"一期"]
[null,"BD07","192.168.1.63",null,"1734-Module",null,"一期"]
[null,"BD07","192.168.1.64",null,"RP0003_1734_AENTR",null,"一期"]
[null,"BD07","192.168.1.65",null,"RP0002_1734_AENTR",null,"一期"]
[null,"BD07","192.168.1.66",null,"1734-Module",null,"一期"]
[null,"BD07","192.168.1.67",null,"1734-Module",null,"一期"]
[null,"BD07","192.168.1.68",null,"1734-Module",null,"一期"]
[null,"BD07","192.168.1.69",null,"1734-Module",null,"一期"]
[null,"BD07","192.168.1.70",null,"1734-Module",null,"一期"]
[null,"BD07","192.168.1.71",null,"1734-Module",null,"一期"]
[null,"BD07","192.168.1.72",null,"LD0906","读码器","一期"]
[null,"BD07","192.168.1.73",null,"LD1005","读码器","一期"]
[null,"BD07","192.168.1.74",null,"LD1205","读码器","一期"]
[null,"BD07","192.168.1.75",null,"LD1405","读码器","一期"]
[null,"BD07","192.168.1.76",null,"LD1605","读码器","一期"]
[null,"BD07","192.168.1.77",null,"LD1805","读码器","一期"]
[null,"BD07","192.168.1.78",null,"LD2005","读码器","一期"]
[null,"BD07","192.168.1.79",null,"T1004_ENCODER","编码器","一期"]
[null,"BD07","192.168.1.80",null,"T1204_ENCODER","编码器","一期"]
[null,"BD07","192.168.1.81",null,"T1404_ENCODER","编码器","一期"]
[null,"BD07","192.168.1.82",null,"T1604_ENCODER","编码器","一期"]
[null,"BD07","192.168.1.83",null,"T1804_ENCODER","编码器","一期"]
[null,"BD07","192.168.1.84",null,"T2004_ENCODER","编码器","一期"]
[null,null,"192.168.1.85"]
[null,null,"192.168.1.86"]
[null,null,"192.168.1.87"]
[null,null,"192.168.1.88"]
[null,null,"192.168.1.89"]
[null,null,"192.168.1.90"]
[null,null,"192.168.1.91"]
[null,null,"192.168.1.92"]
[null,null,"192.168.1.93"]
[null,null,"192.168.1.94"]
[null,null,"192.168.1.95"]
[null,null,"192.168.1.96"]
[null,null,"192.168.1.97"]
[null,null,"192.168.1.98"]
[null,null,"192.168.1.99"]
[null,null,"192.168.1.100"]
[null,null,"192.168.1.101"]
[null,null,"192.168.1.102"]
[null,null,"192.168.1.103"]
[null,null,"192.168.1.104"]
[null,null,"192.168.1.105"]
[null,null,"192.168.1.106"]
[null,null,"192.168.1.107"]
[null,null,"192.168.1.108"]
[null,null,"192.168.1.109"]
[null,null,"192.168.1.110"]
[null,null,"192.168.1.111"]
[null,null,"192.168.1.112"]
[null,null,"192.168.1.113"]
[null,null,"192.168.1.114"]
[null,null,"192.168.1.115"]
[null,null,"192.168.1.116"]
[null,null,"192.168.1.117"]
[null,null,"192.168.1.118"]
[null,null,"192.168.1.119"]
[null,"Starck1","192.168.1.120","10.68.195.167","CPU",null,"一期","modified date 2021/06/14"]
[null,"Asrs","192.168.1.121",null,"1734-Module",null,"一期"]
[null,"Asrs","192.168.1.122",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.123",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.124",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.125",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.126",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.127",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.128",null,"HMI",null,"一期"]
[null,"Asrs","192.168.1.129",null,"Moible_HMI",null,"一期"]
[null,"Asrs","192.168.1.130",null,"Remote_1734-Module",null,"一期"]
[null,"Asrs","192.168.1.131",null,"Fork_Encode_1#","编码器","一期"]
[null,"Asrs","192.168.1.132",null,"Fork_Encode_2#","编码器","一期"]
[null,null,"192.168.1.133"]
[null,null,"192.168.1.134"]
[null,"Starck2","192.168.1.135","10.68.195.168","CPU",null,"一期","modified date 2021/06/14"]
[null,"Asrs","192.168.1.136",null,"1734-Module",null,"一期"]
[null,"Asrs","192.168.1.137",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.138",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.139",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.140",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.141",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.142",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.143",null,"HMI",null,"一期"]
[null,"Asrs","192.168.1.144",null,"Remote_1734-Module",null,"一期"]
[null,"Asrs","192.168.1.145",null,"Fork_Encode_1#","编码器","一期"]
[null,"Asrs","192.168.1.146",null,"Fork_Encode_2#","编码器","一期"]
[null,null,"192.168.1.147"]
[null,null,"192.168.1.148"]
[null,null,"192.168.1.149"]
[null,"Starck3","192.168.1.150","10.68.195.169","CPU",null,"一期","modified date 2021/06/14"]
[null,"Asrs","192.168.1.151",null,"1734-Module",null,"一期"]
[null,"Asrs","192.168.1.152",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.153",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.154",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.155",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.156",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.157",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.158",null,"HMI",null,"一期"]
[null,"Asrs","192.168.1.159",null,"Remote_1734-Module",null,"一期"]
[null,"Asrs","192.168.1.160",null,"Fork_Encode_1#","编码器","一期"]
[null,"Asrs","192.168.1.161",null,"Fork_Encode_2#","编码器","一期"]
[null,null,"192.168.1.162"]
[null,null,"192.168.1.163"]
[null,null,"192.168.1.164"]
[null,"Starck4","192.168.1.165","10.68.195.170","CPU",null,"一期","modified date 2021/06/14"]
[null,"Asrs","192.168.1.166",null,"1734-Module",null,"一期"]
[null,"Asrs","192.168.1.167",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.168",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.169",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.170",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.171",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.172",null,"Driver",null,"一期"]
[null,"Asrs","192.168.1.173",null,"HMI",null,"一期"]
[null,"Asrs","192.168.1.174",null,"Remote_1734-Module",null,"一期"]
[null,"Asrs","192.168.1.175",null,"Fork_Encode_1#","编码器","一期"]
[null,"Asrs","192.168.1.176",null,"Fork_Encode_2#","编码器","一期"]
[null,null,"192.168.1.177"]
[null,null,"192.168.1.178"]
[null,null,"192.168.1.179"]
[null,"EMS1","192.168.1.180",null,"CPU",null,"一期"]
[null,"EMS1","192.168.1.181",null,"1734-Module",null,"一期"]
[null,"EMS1","192.168.1.182",null,"Driver",null,"一期"]
[null,"EMS1","192.168.1.183",null,"Driver",null,"一期"]
[null,"EMS1","192.168.1.184",null,"Driver",null,"一期"]
[null,"EMS1","192.168.1.185",null,"Driver",null,"一期"]
[null,null,"192.168.1.186"]
[null,"EMS1","192.168.1.187",null,"车内电台 ",null,"一期"]
[null,"EMS1","192.168.1.188",null,"轨道电台",null,"一期"]
[null,null,"192.168.1.189"]
[null,"EMS2","192.168.1.190","10.68.195.181","CPU",null,"一期"]
[null,"EMS2","192.168.1.191",null,"1734-Module",null,"一期"]
[null,"EMS2","192.168.1.192",null,"Driver",null,"一期"]
[null,"EMS2","192.168.1.193",null,"Driver",null,"一期"]
[null,"EMS2","192.168.1.194",null,"Driver",null,"一期"]
[null,"EMS2","192.168.1.195",null,"Driver",null,"一期"]
[null,null,"192.168.1.196"]
[null,"EMS2","192.168.1.197",null,"轨道电台",null,"一期"]
[null,"EMS2","192.168.1.198",null,"车内电台 ",null,"一期"]
[null,null,"192.168.1.199"]
[null,"EMS3","192.168.1.200","10.68.195.182","CPU",null,"一期"]
[null,"EMS3","192.168.1.201",null,"1734-Module",null,"一期"]
[null,"EMS3","192.168.1.202",null,"Driver",null,"一期"]
[null,"EMS3","192.168.1.203",null,"Driver",null,"一期"]
[null,"EMS3","192.168.1.204",null,"Driver",null,"一期"]
[null,"EMS3","192.168.1.205",null,"Driver",null,"一期"]
[null,"HMI_EMS","192.168.1.206",null,"HMI  I03",null,"一期"]
[null,"EMS3","192.168.1.207",null,"轨道电台",null,"一期"]
[null,"EMS3","192.168.1.208",null,"车内电台 ",null,"一期"]
[null,null,"192.168.1.209"]
[null,"EMS4","192.168.1.210","10.68.195.183","CPU",null,"一期"]
[null,"EMS4","192.168.1.211",null,"1734-Module",null,"一期"]
[null,"EMS4","192.168.1.212",null,"Driver",null,"一期"]
[null,"EMS4","192.168.1.213",null,"Driver",null,"一期"]
[null,"EMS4","192.168.1.214",null,"Driver",null,"一期"]
[null,"EMS4","192.168.1.215",null,"Driver",null,"一期"]
[null,null,"192.168.1.216"]
[null,"EMS4","192.168.1.217",null,"轨道电台",null,"一期"]
[null,"EMS4","192.168.1.218",null,"车内电台 ",null,"一期"]
[null,null,"192.168.1.219"]
[null,"EMS5","192.168.1.220","10.68.195.184"]
[null,null,"192.168.1.221"]
[null,null,"192.168.1.222"]
[null,null,"192.168.1.223"]
[null,null,"192.168.1.224"]
[null,null,"192.168.1.225"]
[null,null,"192.168.1.226"]
[null,null,"192.168.1.227"]
[null,null,"192.168.1.228"]
[null,null,"192.168.1.229"]
[null,"EMS6","192.168.1.230","10.68.195.185","CPU",null,"一期"]
[null,"EMS6","192.168.1.231",null,"1734-Module",null,"一期"]
[null,"EMS6","192.168.1.232",null,"Driver",null,"一期"]
[null,"EMS6","192.168.1.233",null,"Driver",null,"一期"]
[null,"EMS6","192.168.1.234",null,"Driver",null,"一期"]
[null,"EMS6","192.168.1.235",null,"Driver",null,"一期"]
[null,null,"192.168.1.236"]
[null,"EMS6","192.168.1.237",null,"轨道电台",null,"一期"]
[null,"EMS6","192.168.1.238",null,"车内电台 ",null,"一期"]
[null,"HMI_EMS","192.168.1.239",null,"HMI  J15",null,"一期"]
[null,null,"192.168.1.240"]
[null,"EMS","192.168.1.241",null,"EMS_I_Remote_J08",null,"一期"]
[null,null,"192.168.1.242"]
[null,null,"192.168.1.243"]
[null,null,"192.168.1.244"]
[null,null,"192.168.1.245"]
[null,null,"192.168.1.246"]
[null,null,"192.168.1.247"]
[null,"HMI_EMS","192.168.1.248",null,"HMI  J08",null,"一期"]
[null,"EMS","192.168.1.249",null,"EMS_I_Remote_I03",null,"一期"]
[null,"EMS","192.168.1.250",null,"EMS_I_Remote_I07",null,"一期"]
[null,"EMS","192.168.1.251",null,"EMS_I_Remote_J13",null,"一期"]
[null,"EMS","192.168.1.252",null,"EMS_I_Remote_J16",null,"一期"]
[null,"EMS","192.168.1.253",null,"EMS_I_Remote_J03",null,"一期"]
[null,"Cisco Network Switch","192.168.1.254",null,"Cisco Systems, Inc",null,"一期"]

{"sheet":"Phase_II","index":1,"n_rows":72,"n_cols":7,"rows_kept":72,"cut":false,"hidden":false,"merged":[]}
[]
[null,"设备 ","before map","After map","类型","备注 ","阶段"]
[null,"the concertrator A","10.68.131.42","no map",null,null,"二期"]
[null,"the concertrator C","10.68.131.43  ","no map",null,null,"二期"]
[null,"Router Getway","192.168.10.139","10.68.195.139",null,null,"二期"]
[null,"传送带BD30 PLC","192.168.10.173","10.68.195.173",null,null,"二期"]
[null,"传送带BD31 PLC","192.168.10.174","10.68.195.174",null,null,"二期"]
[null,"传送带BD32 PLC","192.168.10.175","10.68.195.175",null,null,"二期"]
[null,"传送带BD33 PLC","192.168.10.176","10.68.195.176",null,null,"二期"]
[null,"传送带BD34 PLC","192.168.10.177","10.68.195.177",null,null,"四期"]
[null,"传送带BD35 PLC","192.168.10.178","10.68.195.178",null,null,"四期"]
[null,"EMS PLC 07 / A1","192.168.10.186","10.68.195.186",null,null,"二期"]
[null,"EMS PLC 08 / A2","192.168.10.187","10.68.195.187",null,null,"二期"]
[null,"EMS PLC 09 / B1","192.168.10.188","10.68.195.188",null,null,"二期"]
[null,"EMS PLC 10 / B2","192.168.10.189","10.68.195.189",null,null,"二期"]
[null,"EMS PLC 11 / C1","192.168.10.190","10.68.195.190",null,null,"二期"]
[null,"EMS PLC 12 / C2","192.168.10.191","10.68.195.191",null,null,"二期"]
[null,"EMS PLC 13 / D1","192.168.10.192","10.68.195.192",null,null,"二期"]
[null,"EMS PLC 14 / D2","192.168.10.193","10.68.195.193",null,null,"二期"]
[null,"EMS PLC 15 / E1","192.168.10.194","10.68.195.194",null,null,"二期"]
[null,"EMS PLC 16 / E2","192.168.10.195","10.68.195.195",null,null,"二期"]
[null,"EMS PLC 17 / F1","192.168.10.196","10.68.195.196",null,null,"二期"]
[null,"EMS PLC 18 / F2","192.168.10.197","10.68.195.197",null,null,"二期"]
[null,"EMS PLC 19 / G1","192.168.10.198","10.68.195.198",null,null,"二期"]
[null,"EMS PLC 20 / G2","192.168.10.199","10.68.195.199",null,null,"二期"]
[null,"EMS PLC 21 / H1","192.168.10.200","10.68.195.200",null,null,"二期"]
[null,"EMS PLC 22 / H2","192.168.10.201","10.68.195.201",null,null,"二期"]
[null,"EMS PLC 23 / K1","192.168.10.202","10.68.195.202",null,null,"二期"]
[null,"EMS PLC 24 / K2","192.168.10.203","10.68.195.203",null,null,"二期"]
[null,"EMS PLC 25 / K3","192.168.10.204","10.68.195.204",null,null,"二期"]
[null,"EMS A Line Router","192.168.10.205","no map",null,null,"二期"]
[null,"EMS B Line Router","192.168.10.206","no map",null,null,"二期"]
[null,"EMS C Line Router","192.168.10.207","no map",null,null,"二期"]
[null,"EMS D Line Router","192.168.10.208","no map",null,null,"二期"]
[null,"EMS E Line Router","192.168.10.209","no map",null,null,"二期"]
[null,"2号库1#巷道PLC","192.168.10.210","10.68.195.210",null,null,"二期"]
[null,"2号库2#巷道PLC","192.168.10.211","10.68.195.211",null,null,"二期"]
[null,"2号库3#巷道PLC","192.168.10.212","10.68.195.212",null,null,"二期"]
[null,"2号库4#巷道PLC","192.168.10.213","10.68.195.213",null,null,"二期"]
[null,"3号库1#巷道PLC","192.168.10.214","10.68.195.214",null,null,"二期"]
[null,"3号库2#巷道PLC","192.168.10.215","10.68.195.215",null,null,"二期"]
[null,"3号库3#巷道PLC","192.168.10.216","10.68.195.216",null,null,"二期"]
[null,"3号库4#巷道PLC","192.168.10.217","10.68.195.217",null,null,"二期"]
[null,"4号库1#巷道PLC","192.168.10.218","10.68.195.218",null,null,"二期"]
[null,"4号库2#巷道PLC","192.168.10.219","10.68.195.219",null,null,"二期"]
[null,"4号库3#巷道PLC","192.168.10.220","10.68.195.220",null,null,"二期"]
[null,"4号库4#巷道PLC","192.168.10.221","10.68.195.221",null,null,"二期"]
[null,"EMS F Line Router","192.168.10.222","no map",null,null,"二期"]
[null,"EMS G Line Router","192.168.10.223","no map",null,null,"二期"]
[null,"EMS H Line Router","192.168.10.224","no map",null,null,"二期"]
[null,"EMS K Line Router","192.168.10.225","no map",null,null,"二期"]
[null,"5号库1#巷道PLC","192.168.10.226","10.68.195.222",null,null,"四期"]
[null,"5号库2#巷道PLC","192.168.10.227","10.68.195.223",null,null,"四期"]
[null,"5号库3#巷道PLC","192.168.10.228","10.68.195.224",null,null,"四期"]
[null,"5号库4#巷道PLC","192.168.10.229","10.68.195.225",null,null,"四期"]
[null,"ASRS2_PC1","192.168.10.231","10.68.195.231",null,null,"三期"]
[null,"ASRS2_PC2","192.168.10.232","10.68.195.232",null,null,"三期"]
[null,"ASRS2_PC3","192.168.10.233","10.68.195.233",null,null,"三期"]
[null,"ASRS2_PC4","192.168.10.234","10.68.195.234",null,null,"三期"]
[null,"ASRS3_PC1","192.168.10.235","10.68.195.235",null,null,"三期"]
[null,"ASRS3_PC2","192.168.10.236","10.68.195.236",null,null,"三期"]
[null,"ASRS3_PC3","192.168.10.237","10.68.195.237",null,null,"三期"]
[null,"ASRS3_PC4","192.168.10.238","10.68.195.238",null,null,"三期"]
[null,"ASRS4_PC1","192.168.10.239","10.68.195.239",null,null,"二期"]
[null,"ASRS4_PC2","192.168.10.240","10.68.195.240",null,null,"二期"]
[null,"ASRS4_PC3","192.168.10.241","10.68.195.241",null,null,"二期"]
[null,"ASRS4_PC4","192.168.10.242","10.68.195.242",null,null,"二期"]
[null,"ASRS5_PC1","192.168.10.243","10.68.195.243",null,null,"四期"]
[null,"ASRS5_PC2","192.168.10.244","10.68.195.244",null,null,"四期"]
[null,"ASRS5_PC3","192.168.10.245","10.68.195.245",null,null,"四期"]
[null,"ASRS5_PC4","192.168.10.246","10.68.195.246",null,null,"四期"]
[null,"li chunyang","192.168.10.249"," Tempory"]

{"sheet":"Sheet3","index":2,"n_rows":67,"n_cols":5,"rows_kept":67,"cut":false,"hidden":false,"merged":[]}
[]
["NO","Equipment","before map","After map","type"]
[1,"Router Getway","192.168.10.139","10.68.195.139"]
[2,"Nat Getway","192.168.1.40","10.68.195.140","Routor"]
[3,"spare","192.168.1.30","10.68.195.141","Server spare"]
[4,"ESXI WCS/WMS prod","192.168.1.10","10.68.195.142","server  Production"]
[5,"ESXI WCS/WMS Spare","192.168.1.20","10.68.195.143","server  spare"]
[6,"ASRS_PC1","192.168.1.11","10.68.195.148","PC"]
[7,"ASRS_PC2","192.168.1.12","10.68.195.149","PC"]
[8,"ASRS_PC3","192.168.1.13","10.68.195.150","PC"]
[9,"ASRS_PC4","192.168.1.14","10.68.195.151","PC"]
[10,"EMS","192.168.1.15","10.68.195.152","HMI"]
[11,"BD06","192.168.1.50","10.68.195.171","1756_EN2T Module"]
[12,"BD07","192.168.1.60","10.68.195.172","1756_EN2T Module"]
[13,"Transtic BD30 PLC","192.168.10.173","10.68.195.173","1756_EN2T Module"]
[14,"Transtic BD31 PLC","192.168.10.174","10.68.195.174","1756_EN2T Module"]
[15,"Transtic BD32 PLC","192.168.10.175","10.68.195.175","1756_EN2T Module"]
[16,"Transtic BD33 PLC","192.168.10.176","10.68.195.176","1756_EN2T Module"]
[17,"EMS1","192.168.1.180","10.68.195.180","PLC  Process"]
[18,"EMS2","192.168.1.190","10.68.195.181","PLC  Process"]
[19,"EMS3","192.168.1.200","10.68.195.182","PLC  Process"]
[20,"EMS4","192.168.1.210","10.68.195.183","PLC  Process"]
[21,"EMS5","192.168.1.220","10.68.195.184","PLC  Process"]
[22,"EMS6","192.168.1.230","10.68.195.185","PLC  Process"]
[23,"EMS PLC 07 / A1","192.168.10.186","10.68.195.186","PLC  Process"]
[24,"EMS PLC 08 / A2","192.168.10.187","10.68.195.187","PLC  Process"]
[25,"EMS PLC 09 / B1","192.168.10.188","10.68.195.188","PLC  Process"]
[26,"EMS PLC 10 / B2","192.168.10.189","10.68.195.189","PLC  Process"]
[27,"EMS PLC 11 / C1","192.168.10.190","10.68.195.190","PLC  Process"]
[28,"EMS PLC 12 / C2","192.168.10.191","10.68.195.191","PLC  Process"]
[29,"EMS PLC 13 / D1","192.168.10.192","10.68.195.192","PLC  Process"]
[30,"EMS PLC 14 / D2","192.168.10.193","10.68.195.193","PLC  Process"]
[31,"EMS PLC 15 / E1","192.168.10.194","10.68.195.194","PLC  Process"]
[32,"EMS PLC 16 / E2","192.168.10.195","10.68.195.195","PLC  Process"]
[33,"EMS PLC 17 / F1","192.168.10.196","10.68.195.196","PLC  Process"]
[34,"EMS PLC 18 / F2","192.168.10.197","10.68.195.197","PLC  Process"]
[35,"EMS PLC 19 / G1","192.168.10.198","10.68.195.198","PLC  Process"]
[36,"EMS PLC 20 / G2","192.168.10.199","10.68.195.199","PLC  Process"]
[37,"EMS PLC 21 / H1","192.168.10.200","10.68.195.200","PLC  Process"]
[38,"EMS PLC 22 / H2","192.168.10.201","10.68.195.201","PLC  Process"]
[39,"EMS PLC 23 / K1","192.168.10.202","10.68.195.202","PLC  Process"]
[40,"EMS PLC 24 / K2","192.168.10.203","10.68.195.203","PLC  Process"]
[41,"EMS PLC 25 / K3","192.168.10.204","10.68.195.204","PLC  Process"]
[42,"2号库1# ASRS PLC","192.168.10.210","10.68.195.210","PLC  Process"]
[43,"2号库2# ASRS PLC","192.168.10.211","10.68.195.211","PLC  Process"]
[44,"2号库3# ASRS PLC","192.168.10.212","10.68.195.212","PLC  Process"]
[45,"2号库4# ASRS PLC","192.168.10.213","10.68.195.213","PLC  Process"]
[46,"3号库1# ASRS PLC","192.168.10.214","10.68.195.214","PLC  Process"]
[47,"3号库2# ASRS PLC","192.168.10.215","10.68.195.215","PLC  Process"]
[48,"3号库3# ASRS PLC","192.168.10.216","10.68.195.216","PLC  Process"]
[49,"3号库4# ASRS PLC","192.168.10.217","10.68.195.217","PLC  Process"]
[50,"4号库1# ASRS PLC","192.168.10.218","10.68.195.218","PLC  Process"]
[51,"4号库2# ASRS PLC","192.168.10.219","10.68.195.219","PLC  Process"]
[52,"4号库3# ASRS PLC","192.168.10.220","10.68.195.220","PLC  Process"]
[53,"4号库4# ASRS PLC","192.168.10.221","10.68.195.221","PLC  Process"]
[54,"ASRS2_PC1","192.168.10.231","10.68.195.231","PC Clinet"]
[55,"ASRS2_PC2","192.168.10.232","10.68.195.232","PC Clinet"]
[56,"ASRS2_PC3","192.168.10.233","10.68.195.233","PC Clinet"]
[57,"ASRS2_PC4","192.168.10.234","10.68.195.234","PC Clinet"]
[58,"ASRS3_PC1","192.168.10.235","10.68.195.235","PC Clinet"]
[59,"ASRS3_PC2","192.168.10.236","10.68.195.236","PC Clinet"]
[60,"ASRS3_PC3","192.168.10.237","10.68.195.237","PC Clinet"]
[61,"ASRS3_PC4","192.168.10.238","10.68.195.238","PC Clinet"]
[62,"ASRS4_PC1","192.168.10.239","10.68.195.239","PC Clinet"]
[63,"ASRS4_PC2","192.168.10.240","10.68.195.240","PC Clinet"]
[64,"ASRS4_PC3","192.168.10.241","10.68.195.241","PC Clinet"]
[65,"ASRS4_PC4","192.168.10.242","10.68.195.242","PC Clinet"]